## A) Materials
Singleplex qPCR Protocol to target E_Sarbeco and RdRP genes |  |  |  |  | < Page 1 of 6 >
Version: 17-Nov-2020
Author: 1st BASE MBS, Malaysia
A) Brief of Raw Materials & Instruments:
1 | Primer/ Probe | Name | Sequence (5’ to 3’) | Agency | Cat#
| E_Sarbeco Forward Primer | E_Sarbeco_F1 | ACAGGTACGTTAATAGTTAATAGCGT | IDT | 10006888
| E_Sarbeco Reverse Primer | E_Sarbeco_R2 | ATATTGCAGCAGTACGCACACA | IDT | 10006890
| E_Sarbeco Probe | E_Sarbeco_P1 | HEX-ACACTAGCC/ZEN/ATCCTTACTGCGCTTCG-IBFQ | IDT | Custom Probe
| RdRP Forward Primer | RdRP_SARSr-F2 | GTGARATGGTCATGTGTGGCGG | IDT | 10006860
| RdRP Reverse Primer | RdRP_SARSr-R1 | CARATGTTAAASACACTATTAGCATA | IDT | 10006881
| RdRP Probe | RdRP_SARSr-P2 | FAM-CAGGTGGAA/ZEN/CCTCATCAGGAGATGC-IBFQ | IDT | 10006886
2 | THUNDERBIRD Probe One-Step qRT-PCR kit (Toyobo, Cat# QRZ-101)
3 | qPCR system: (i) Qiagen Rotor-Gene Q (Qiagen, Cat# 9001867);
(ii) 100uL Minitube with cap (Qiagen, Cat# 981103)
4 | Positive control reaction setup: (i) 2019-nCoV_E_and_RdRp Positive Control (1st BASE, Cat# MBS-4100);
(ii) 1xIDTE buffer pH 8.0 (IDT, Cat# 11050113); (iii) Restriction Enzyme, Ncol (Thermo Scientific, Cat# ER057);
(iv) Implen NanoPhotometer or any equivalent.
5 | RNA extracted from oral/ nasal swab VTM (1st BASE, Cat# CUS-7020) using viral nucleic acid extraction kit
(Geneaid, Cat# VR100). The purified viral RNA is eluted with 50uL of elution buffer.
1uL of the purified total RNA was used for each qPCR reaction.

## B) PCR efficiency
B) PCR Efficiency | < Page 2 of 6 >
Version: 17-Nov-2020
Author: 1st BASE MBS, Malaysia
PCR Efficiency (E) for each target gene was assessed using duplicate qPCR reactions of 10-fold diluted 2019-nCOV_E and RdRp Positive Control, which was digested with NcoI. The plasmid DNA standard of 6 magnitudes was created from 2E01 to 2E06 copies . Linear regression falls within the acceptable value of Slope (-3.10 to -3.59) and R2 (> 0.95). The percentage efficiency was calculated from the slope using the formula E = 100*(-1 + 10−1/slope). The concentration of the plasmid DNA standards was measured using Implen NanoPhotometer.

## C) Singleplex Gene E_Sarbeco
C1) qPCR Setup for Singleplex E_Sarbeco Gene |  |  |  | < Page 3 of 6 > | C2) Amplification Results for E Sarbeco Gene in Singleplex | < Page 4 of 6 >
Version: 17-Nov-2020
Author: 1st BASE MBS, Malaysia
| sum without water | 12.32 | Key-in no. of rxns +2 to compensate pipetting loss
No. | Components | 1 rxn | 50 | Source refers to (A) Materials
1 | Water | 7.68 | 384 | Toyobo kit, Cat# QRZ-101
2 | 2x Rxn buffer | 10 | 500 | Toyobo kit, Cat# QRZ-101
3 | DNA Polymerase | 0.5 | 25 | Toyobo kit, Cat# QRZ-101
4 | RT Enzyme Mix | 0.5 | 25 | Toyobo kit, Cat# QRZ-101
5 | E_Sarbeco_F1, 10 uM | 0.14 | 7 | Diluted from IDT, Cat# 10006888
6 | E_Sarbeco_R2, 10 uM | 0.14 | 7 | Diluted from IDT, Cat# 10006890
7 | E_Sarbeco_P1, 10 uM | 0.04 | 2 | IDT, Custom Probe
8 | *Viral RNA Template | 1 |  | Purified viral RNA from oral/ nasal swab VTM
*Adjustable volume |  | 20 | 950 | Total
| Each aliquot |  | 19 | uL
No. | Steps | Time | Temp. (°C) | No. of Cycles
1 | Reverse Transcription | 10 min | 50 | 1
2 | Initial Denaturation | 1 min | 95 | 1
3 | Denaturation | 10 sec | 95 | Repeat Step3 to Step5 for total of 40 to 45 cycles
4 | Annealing and Extension #1 | 5 sec | 62
5 | Annealing and Extension #2 | 10 sec | 58 (Optic On)

## D) Singleplex Gene RdRP
D1) qPCR Setup for Singleplex RdRP Gene |  |  |  | < Page 5 of 6 > | D2) Amplification Results for RdRP Gene in Singleplex | < Page 6 of 6 >
Version: 17-Nov-2020
Author: 1st BASE MBS, Malaysia
| sum without water | 12.78 | Key-in no. of rxns +2 to compensate pipetting loss
No. | Components | 1 rxn | 50 | Source refers to (A) Materials
1 | Water | 7.22 | 361 | Toyobo kit, Cat# QRZ-101
2 | 2x Rxn buffer | 10 | 500 | Toyobo kit, Cat# QRZ-101
3 | DNA Polymerase | 0.5 | 25 | Toyobo kit, Cat# QRZ-101
4 | RT Enzyme Mix | 0.5 | 25 | Toyobo kit, Cat# QRZ-101
5 | RdRP_SARSr-F2, 20 uM | 0.35 | 17.5 | Diluted from IDT, Cat# 10006860
6 | RdRP_SARSr-R1, 20 uM | 0.35 | 17.5 | Diluted from IDT, Cat# 10006881
7 | RdRP_SARSr-P2, 20 uM | 0.08 | 4 | Diluted from IDT, Cat# 10006886
8 | *Viral RNA Template | 1 |  | Purified viral RNA from oral/ nasal swab VTM
*Adjustable volume |  | 20 | 950 | Total
| Each aliquot |  | 19 | uL
No. | Steps | Time | Temp. (°C) | No. of Cycles
1 | Reverse Transcription | 10 min | 50 | 1
2 | Initial Denaturation | 1 min | 95 | 1
3 | Denaturation | 10 sec | 95 | Repeat Step3 to Step5 for total of 40 to 45 cycles
4 | Annealing and Extension #1 | 5 sec | 62
5 | Annealing and Extension #2 | 10 sec | 58 (Optic On)